## Water Analysis Worksheet
Cations
| Calcium [Ca2+ ] | mg/L
| Magnesium [Mg2+ ] | mg/L
| Sodium [Na+ ] | mg/L
| Potassium [K+ ] | mg/L
| Barium [Ba2+ ] | mg/L
| Strontium [Sr2+ ] | mg/L
| Iron [Fe2+ ] | mg/L
| Aluminum [Al3+ ] | mg/L
| Manganese [ Mn3+ ] | mg/L
Anions
| Bicarbonate [HCO3- ] | mg/L
| Sulfate [SO4- ] | mg/L
| Chloride [Cl- ] | mg/L
| Fluoride [F- ] | mg/L
| Nitrate [NO3- ] | mg/L
| Phosphate [PO4- ] | mg/L
Other
| Silica [SiO2 ] | mg/L
| pH | units
| Feed Flow Rate | gpd
| Recovery | %
| Temperature | °F
| SDI | units
| Turbidity | ntu
| Conductivity | µmhos
| TOC | mg/L
Notes:
Denotes selectable options
1. Include SDI if available from the site. Labs do not do SDIs.
2. Must have pH. Best if measured at site as water sample pH can change.
3. Only the dissolved ions are of interest, eg., dissolved iron, dissolved silica.
WATER ANALYSIS